## OASIS
(Transmission lines rated 138kV and higher that limit bulk power transfers are listed)
Nova Scotia Power |  |  |  | For help, contact: |  |  |  |  | FIM (Flow into Metro) |  | Last Update: | Legend
Transmission Operations |  |  |  | nspsoadmin@nspower.ca | [6 empty] | 2025-09-15 10:00 | Please note all Planned Outages in Green indicates new updates
Transmission Planned Outage Schedule
Circuit/Element | For Work On | Start Date | Return Date | Reason | CBX | ONI | ONS | EEX@EB | MDRR | FIM | Generation Restrictions | Import/Export | Notes | Work Status
NB STOP 017 | NB STOP 017 | 9/7/2025 | 9/19/2025 | [8 empty] | #VALUE!
L-6516 | L-6516 | 09/08/2025 | 09/25/2025 | [7 empty] | LG units limited to 160 MW gross LG Total Gross limited to 600 MW
LIL POLE 1 OUTAGE | LIL POLE 1 OUTAGE | 9/14/2025 | 9/20/2025
L-8002 | L-8002 | 9/15/2025 | 10/16/2025 | [7 empty] | MINIMUM TUFTS COVE GENERATION BASED ON LOAD: GROSS GENERATION = 0.4047*(NET SYSTEM LOAD) - 360.54 | ONS<= 770 MWs ONI<= 1275 MWs
ML POLE 1 OUTAGE | ML POLE 1 OUTAGE | 9/15/2025 | 9/19/2025 | [8 empty] | ML <=250 MW
ML POLE 2 OUTAGE | ML POLE 2 OUTAGE | 9/19/2025 | 9/22/2025 | [8 empty] | ML<=250 MW
LIL BIPOLE OUTAGE | LIL BIPOLE OUTAGE | 9/21/2025 | 9/30/2025
LIL POLE 2 OUTAGE | LIL POLE 2 OUTAGE | 10/1/2025 | 10/14/2025